## QCI Form October 2018
GEORGIA WEATHERIZATION ASSISTANCE PROGRAM QUALITY CONTROL INSPECTION FORM Version: October 2018
Agency:
Inspection Date:
Job #:
Client Name:
Own/Rent:
Address:
City:
County:
Year of Construction/Manufacturing:
Site Built/Manufactured Home/Multi-Family:
Primary Heating Fuel Type:
FILE REVIEW
Wx Application completed/signed? | Yes/No/NA | Notes:
Documentation for Income/Categorical Eligibility? | Yes/No/NA | Notes:
Client/Owner/Tenant Agreement/Authorization Form? | Yes/No/NA | Notes:
Mold Pamphlet & Radon Consent Form sign-off sheet? | Yes/No/NA | Notes:
NEAT/MHEA Input/Recommened Measures/Assessment Form (or GEFA Assessment Form) in client file? | Yes/No/NA | Notes:
Final Inspection Sheet or QCI Form signed/dated by client/owner (see end of form)? | Yes/No/NA | Notes:
EPA Lead RRP Rule left with client, noted in file? | Yes/No/NA | Notes:
Lead Safe Test Documentation w/photo (pre-1978)? | Yes/No/NA | Notes:
Combustion Safety Test (pre, in-progress, post)? | Yes/No/NA | Notes:
Correct Record of Wx Materials Installed? | Yes/No/NA | Notes:
Correct Invoices for Completed WAP Work? | Yes/No/NA | Notes:
Change Orders? | Yes/No/NA | Notes:
Before & After Wx Photo Documentation? | Yes/No/NA | Notes:
ASHRAE 62.2 Ventilation Rate Calculator Before & After Work Sheet? | Yes/No/NA | Notes:
Sizing Calc. (Manual J) for HVAC replacements in file? | Yes/No/NA | Notes:
Warranty Form (client signed & dated)? | Yes/No/NA | Notes:
Client Provided Instructions for mechanical equipment: ERV, Timers, HVAC equipment, Space Heaters, T-stats, Bath/Kitchen Exhaust, DWH Tanks/Tankless ... | Yes/No/NA | Notes:
DOE Job Cost $:
DHS-HHS Job Cost $:
Other Cost $:
Heating Venting Air Conditioning
Note: ECM (Energy Conservation Measure), HS (Health & Safety, list health & safety or at-risk reason in notes section), or NA (Not Applicable).
Heating System Replacement: ECM/HS/NA? | ECM/HS/NA | Notes:
Heating System Repair: ECM/HS/NA? | ECM/HS/NA | Notes:
Heating System Tune-Up: ECM/HS/NA? | ECM/HS/NA | Notes:
Air Conditioning Replacement: ECM/HS/NA? | ECM/HS/NA | Notes:
Air Conditioning Repair: ECM/HS/NA? | ECM/HS/NA | Notes:
Air Conditioning Tune–Up: ECM/HS/NA? | ECM/HS/NA | Notes:
Distribution System Modifications? | Yes/No/NA | Notes:
Duct Sealing (Reference: SWS 3.1602 Duct Sealing)? | Yes/No/NA | Notes:
Programmable Thermostat Installed? | Yes/No/NA | Notes:
Insulation Installed Hard Pipe Ductwork, Plenums and Duct Boots, R-8? (Insulation must be installed w/appropriate tape/metal wire/rot proof nylon twine; Reference: SWS 4.16 Insulating Ducts) | Yes/No/NA | Notes:
Local Mechanical Exhaust Ventilation Installed? (New installs must test-out: Kitchen Range ≥ 100 cfm, Kitchen Ceiling/Wall Exhaust ≥ 300 cfm, Bathroom ≥ 50 cfm) | Yes/No/NA | Notes:
Whole Building Ventilation Installed per ASHRAE 62.2? | Yes/No/NA | Notes:
Permits for HVAC work/installs in Client File? | Yes/No/NA | Notes:
12-month supply HVAC Filters (MERV 6 min.) w/Client? | Yes/No/NA | Notes:
ATTIC
Insulation Installed? (Level, Proper Coverage, Rulers, Insulation Certificate filled in accordingly and posted) | Yes/No/NA | Notes:
Knob/Tube Present, Signage Posted? | Yes/No/NA | Notes:
Proper Heat Source Damming & Air Sealing? | Yes/No/NA | Notes:
Insulation Baffles Installed? | Yes/No/NA | Notes:
Junction Boxes Covered? | Yes/No/NA | Notes:
Flags or Markers Installed? | Yes/No/NA | Notes:
Attic Access Insulated & Dammed? | Yes/No/NA | Notes:
Attic Air Sealing? (Insulation moved to air seal, must be placed back & leveled out.) | Yes/No/NA | Notes:
Non-Accessible Attic: Ceiling by-passes Air Sealed? | Yes/No/NA | Notes:
Insulation blown in through ceiling/plugged/patched? | Yes/No/NA | Notes:
Insulation installed through roof? | Yes/No/NA | Notes:
WALLS
Walls Insulation installed, properly dense-packed per manufacturer/plugged/patched/caulked? | Yes/No/NA | Notes:
Knee-wall Insulation installed? (R-18 w/approved fire barrier, foam board listed for uncovered use in attic, or covered with a fire barrier) | Yes/No/NA | Notes:
Wall Air Sealing? | Yes/No/NA | Notes:
Knee-wall Access Insulated & Weather-stripped? | Yes/No/NA | Notes:
CRAWL-SPACE & BASEMENT
Band-board/Rim-joist Insulation Installed? | Yes/No/NA | Notes:
Floor Insulation Installed? | Yes/No/NA | Notes:
Basement/Crawl-space Wall Insulation Installed? | Yes/No/NA | Notes:
Vapor Barrier Installed (100%) accordingly to Single Family or Manufactured Housing Field Guide? | Yes/No/NA | Notes:
Crawl-space Signage: Do Not Store Hazardous Flammable Materials…. ? | Yes/No/NA | Notes:
Signage: "Caution, Do Not Damage V.B. If Damaged….? | Yes/No/NA | Notes:
Crawlspace/Basement Air Sealing Performed? | Yes/No/NA | Notes:
Manufactured/Mobile Home Air Sealing at floor inside belly? (Must take photos prior to sealing up belly) | Yes/No/NA | Notes:
M.H. Ductwork sealed or repaired, inside belly? (Must take photos prior to sealing up belly) | Yes/No/NA | Notes:
M.H. Insulation Installed in Belly? | Yes/No/NA | Notes:
Belly repaired/replaced? | Yes/No/NA | Notes:
WINDOWS & DOORS
Windows Replaced/GEFA approval? | Yes/No/NA | Notes:
Window Sun Screening or Window Film Installed? | Yes/No/NA | Notes:
Doors Replaced/GEFA approval? | Yes/No/NA | Notes:
Door Weather-stripping/Door Sweeps? | Yes/No/NA | Notes:
Window Weather-stripping? | Yes/No/NA | Notes:
DOMESTIC WATER HEATER
Water Heater Replaced: ECM/HS/NA | ECM/HS/NA | Notes:
Temp. & Pressure Relief Valve Installed? | Yes/No/NA | Notes:
T & P Discharge Pipe Installed? | Yes/No/NA | Notes:
Hot Water Temp. ≤ 120 degrees F? | Yes/No/NA | Notes:
Water Heater Insulation Installed? (Must have spacers if using reflective radiant bubble wrap insulation) | Yes/No/NA | Notes:
Pipe Insulation Installed, hot & cold pipes? | Yes/No/NA | Notes:
Low Flow Showerheads Installed (≤ 2.5 gpm)? | Yes/No/NA | Notes:
Aerators Installed (≤ 2.2 gpm)? | Yes/No/NA | Notes:
OTHER
LEDs or CFLs Installed? | Yes/No/NA | Notes:
Smoke Alarm(s) Installed? | Yes/No/NA | Notes:
Carbon Monoxide Alarm(s) Installed? | Yes/No/NA | Notes:
Pressure Diagnostic Testing performed? 1.Livingspace to Attic; Livingspace to Crawlspace; Livingspace to Attached Garage; 2.When performing Livingspace to Garage or Crawlspace, NOTE: garage door should be opened and crawlspace vents and access door should be open. 3.Rooms to Common Area (Reference: SWS 6.6201.2 Air Flow between Rooms). | Yes/No/NA | Notes:
Attached Garage/Livingspace Wall/Ceiling Air Sealed (Ducts, pipes, wires, wallboard, trim, threshold, door..) verified w/Blower Door & Smoke Stick/IR Camera? | Yes/No/NA | Notes:
Combustion Appliance Zone Sealed? | Yes/No/NA | Notes:
HVAC Utility Closet Door: if door to utility closet has a filter in it, this door must have weather-stripping/door sweep? | Yes/No/NA | Notes:
Exhaust Vent Duct Insulation - Outside Conditioned Space? (New Installs Only) | Yes/No/NA | Notes:
Clothes Dryer, Semi-Rigid, Rigid Metal Duct or Foil UL 2158A Installed, no PVC or plastic ducting? | Yes/No/NA | Notes:
Screen Mesh Installed for Exhaust Terminations? | Yes/No/NA | Notes:
Refrigerant Line Sets Insulated R-4, replace if worn? | Yes/No/NA | Notes:
Incidental Repairs needed and within dollar limit? | Yes/No/NA | Notes:
REQUIRED CORRECTIVE ACTION
Note: All corrections must be completed and signed off by the Crew Leader (CL). When corrections are completed the Quality Control Inspector (QCI) must sign off affirming that required deficiencies were addressed to GA WAP standards. If the job was inspected and all corrections were made on the final day of the job, the CL and QCI must sign the Inspection Form to verify completion. Final day inspections must reflect corrections cited by the QCI. Inspection Form must be included in client file.
Correction(s) Needed: | Crew Leader Name (CL) Quality Control Inspector Name (QCI)
| CL |  | QCI
* Crew Leader Name (print):
Signature or e-signature:
Date:
* Quality Control Inspector Name (print):
Signature or e-signature:
Certification #:
Date:
I hereby confirm all measures have been installed accordingly and this job is complete. |  |  |  | Yes/No
(Below: Optional Client Signature for the Final Inspection/Job Completion)
* Client Signature confirming job completion: |  |  |  | Date: