## GA WAP Assessment Form
ON-SITE ASSESSMENT FORM
Georgia Weatherization Assistance Program
Version: August 2016
Note all deferral conditions. All areas to be filled in accordingly or write N/A if Not Applicable.
Date:
Assessor Name:
Job Number:
Client Name:
Address:
City:
County:
Own: | Rent: |  | Other: |  | # of Occupants:
Dwelling Type: | Site Built |  | Duplex |  | Hybrid (S.F. & Manf.)
| Manuf. |  | Multi-Fam |  | Date of Construction
Foundation Type: | Slab |  | Piers |  | Crawl Spc |  | Bsmnt.
Level | Conditioned Area |  |  | Ceiling Height |  |  | Volume
Basement
1st Floor
2nd Floor
3rd Floor
Finished Attic
Assessment Summary:
Driving Directions:
DWELLING LAYOUT
Indicate: Orientation. Include: Wall lengths. Location of: Windows, Doors, HVAC units, Attic Access, Vents.
HEALTH & SAFETY
Number of elderly (65 yrs. or older) living in the home:
Number of infants (2 yrs. or younger) living in the home:
Are any occupants pregnant? |  |  |  |  | Yes |  | No
Are any occupants asthmatic? |  |  |  |  | Yes |  | No
Do any occupants have health conditions that may be worsened by exposure to high temperatures? |  |  |  |  | Yes |  | No
If yes, describe health issues:
Do any occupants have known allergies? |  |  |  |  | Yes |  | No
If yes, list all known allergies:
Client health issues prohibit Blower Door testing? |  |  |  |  | Yes |  | No
Summary of household health concerns:
MOLD & MOISTURE
Location: |  | Mold | Moisture | Other | Musty | Standing Water | Visible Mushrooms Mushroom smells
Living Room
Bedrooms
Bathrooms
Kitchen
Laundry Room
Combustion Appliance Zone
Attic
Basement
Crawl Space
Dining Room
Family Room
Other
Notes:
Unsanitary Conditions
Location: |  | Descibe condition: sewage, animal waste, clutter, rubbish, urine smell, etc.
Living Room
Bedrooms
Bathrooms
Kitchen
Laundry Room
Combustion Appliance Zone
Attic
Basement
Crawl Space
Dining Room
Family Room
Other
Notes:
Asbestos
Asbestos siding? |  |  |  |  | Yes |  | No
Is there vermiculite insulation present in the home? |  |  |  |  | Yes |  | No
Asbestos in covering materials: flooring, siding, insulation? |  |  |  |  | Yes |  | No
Pressurize home for Blower Door Test? |  |  |  |  | Yes |  | No
Notes:
Lead Paint Evaluation - Pre 1978 Dwellings
Exterior has possible lead paint deterioration existing? |  |  |  |  | Yes |  | No
Interior has possible lead paint deterioration existing? |  |  |  |  | Yes |  | No
Areas Tested for Lead Based Paint: siding, walls, windows, doors, framing, ceiling, etc.
Based on weatherization measures to be installed, will Lead Safe Weatherization (LSW) be required? |  |  |  |  | Yes |  | No
Does current condition of paint require that the home be deferred until resolved? |  |  |  |  | Yes |  | No
Notes:
Electrical
Service Main Panel | Manufacturer |  | AMPS | Type-Circuit Brk/Fuse |  | Location |  | Cover Y/N
Service Sub-Panel | Manufacturer |  | AMPS | Type-Circuit Brk/Fuse |  | Location |  | Cover Y/N
Knob & Tube present? |  |  |  |  | Yes |  | No
If yes, location of knob & tube?
Junction boxes needed? |  |  |  |  | Yes |  | No
Junction box covers needed? |  |  |  |  | Yes |  | No
Aluminum wires present? |  |  |  |  | Yes |  | No
Wiring deteriorated/frayed/exposed wires? |  |  |  |  | Yes |  | No
Load testing and/or safety testing required? |  |  |  |  | Yes |  | No
Notes:
Fire Hazard
Is there a fire hazard requiring home to be deferred? |  |  |  |  | Yes |  | No
Notes:
Smoke & Carbon Monoxide Detectors & Fire Extinguishers
| Existing (Yes/No) |  | Operational (Yes/No) |  | Number to Install |  | Location
Smoke Detector
CO Detector
Are fire extinguishers present? |  |  |  |  | Yes |  | No
If a solid fuel burning appliance is the main heat source, is there a fire extinguisher in the room/area ? |  |  |  |  | Yes |  | No
If no, location where a new fire extinguisher is required?
Notes:
Crawl Space
Health & Safety Concerns?
Access repairs needed?
Access needed?
Crawl Space: are all areas of exposed earth accessible to install a vapor barrier?
Is there an existing vabor barrier? (sq.ft., condition)
Is a vapor barrier needed? (sq.ft. area)
Crawl Space ceiling existing insulation:(type, thickness, sq.ft.)
Joist size and spacing: (2x8, 2x10, 2x12, 16 OC, 24 OC)
Crawl Space ceiling area: (sq.ft. area)
Crawl Space ceiling to be insulated: (type, thickness)
Ventilation needed? (sq.ft. area)
Existing insulation: (type, condition, R-value, sq.ft.)
Insulation needed, ceiling/rim-joist, sq.ft. area?
Crawl Space (continued)
Notes:
Basement
Health & Safety Concerns?
Conditioned or unconditioned?
Is ceiling insulated?
Joist size and spacing: (2x8, 2x10, 2x12, 16 OC, 24 OC)
Basement ceiling existing insulation:(type, thickness)
Basement ceiling area: (sq.ft. area)
Basement ceiling to be insulated: (type, thickness)
Insulation needed rim-joist: (sq.ft. area)
Notes:
Wall Insulation - Site Built
Orientation: | Wall 1 | Wall 2 | Wall 3 | Wall 4 | Wall 5 | Wall 6 | Wall 7 | Wall 8
Existing Type of Insul
Existing R-Value
Area to Insulate sq.ft
Repairs needed?
Dense Pack?
Framing Type: Balloon or Platform?
Stud size & spacing (2x4, 2x6, 16 OC, 24 OC, irregular)?
Ext.siding: (clapboard, shingles, vinyl, brick, stone,etc.)
Wall interior: (sheetrock/wallpaper/paint/paneling, plaster/other)
Wall Insulation (continued)
Notes:
Main-Attic
Health & Safety Concerns?
Attic type: (finished/unfinished, partial)?
Attic floor: (joist size and spacing, sq.ft. area)?
Existing floor insulation: (type, R-value, inches, condition)
Floor insulation needed? (type, inches, R-value, area sq.ft.)
Access type & location: (hallway, closet, garage, etc.)
Access needed? (hallway, closet, garage, etc.)
Access insulation needed?
Kneewall insulated?
Knee-wall framing: 2x4, 16 OC)
Knee-wall insulation needed: (sq.ft. type, inches)
Roof-Rafter (Slant-wall) insulated?
Roof-Rafter (Slant-wall) dimensions: (depth, sq.ft.)
Collar-Beam (Ceiling cap) insulated?
Collar-Beam (Ceiling cap) area to be insulated? (type, depth, sq.ft.)
Damming: (conditioned/unconditioned areas, combustion flue pipes, soffit ventilation, etc.)
Notes:
Second-Attic
Health & Safety Concerns?
Attic type: (finished/unfinished, partial)?
Attic floor: (joist size and spacing, sq.ft. area)?
Existing floor insulation: (type, R-value, inches, condition)
Floor insulation needed? (type, inches, R-value, area sq.ft.)
Access type & location: (hallway, closet, garage, etc.)
Access needed? (hallway, closet, garage, etc.)
Access insulation needed?
Kneewall insulated?
Knee-wall framing: 2x4, 16 OC)
Knee-wall insulation needed: (sq.ft. type, inches)
Roof-Rafter (Slant-wall) insulated?
Roof-Rafter (Slant-wall) dimensions: (depth, sq.ft.)
Collar-Beam (Ceiling cap) insulated?
Collar-Beam (Ceiling cap) area to be insulated? (type, depth, sq.ft.)
Damming: (conditioned/unconditioned areas, combustion flue pipes, ventilation, etc.)
Notes:
Combustion Appliance Testing
* See Combustion Safety Test Sheets | bar: Wall 4 to Wall 8
Diagnostic Testing
Blower Door Reading (CFM50) | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Pressure Pan Readings Supply | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Family Room: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Dining Room: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Living Room: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Den: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Laundry: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Kitchen: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Hallway: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Other: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Master Bedroom: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Bedroom 1: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Bedroom 2: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Bedroom 3: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Pressure Pan Readings Supply (continued)
Master Bathroom: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Bathroom 1: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Bathroom 2: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Return: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Return: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Return: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Return: | Wall 3: Pre; Wall 5: In-Prog.; Wall 7: Post
Notes:
Zonal Pressure Testing
Zone (room) | to (Pa): | Zone (room) |  | Zone (room) |  | to (Pa): | Zone (room)
Notes:
Windows & Doors
Windows | Wall 1 | Wall 2 | Wall 3 | Wall 4 | Wall 5 | Wall 6 | Wall 7 | Wall 8
Window(size/#)
Facing: N,S,E,W
Glazing: single,dbl.
Repairs needed?
Material: wood,vinyl,
Replacement needed:
Windows & Doors (continued)
Notes:
Doors | Wall 1 | Wall 2 | Wall 3 | Wall 4 | Wall 5 | Wall 6 | Wall 7 | Wall 8
Type: metal, wood,
Size: area
Repairs needed?
Storm door?
Replacement needed:
Notes:
Finished Room Over Garage & Cantelever
Area: | Wall 1: Insulated? Y/N; Wall 3: Insulate? Y/N; Wall 5: Type: Drill&blow/Batt; Wall 7: Area/Volume
Garage Ceiling 1
Cantilever 1
Garage Ceiling 2
Cantilever 2
Garage Ceiling 3
Cantilever 3
Notes:
Roof - Site Built
Health & Safety Concerns: | bar: Wall 1 to Wall 2
Roof 1: (hip, gable; metal, asph. shingle) | bar: Wall 1 to Wall 2
Existing Ventilation: (gable, ridge, soffit,etc) | bar: Wall 1 to Wall 2
Ventilation Needed: (type, size, location) | bar: Wall 1 to Wall 2
Leaks/damage/rotting: | bar: Wall 1 to Wall 2
Notes:
Roof Site Built (continued)
Roof 2: (hip, gable; metal, asph. Shingle) | bar: Wall 1 to Wall 2
Existing Ventilation: (gable, ridge, soffit,etc) | bar: Wall 1 to Wall 2
Ventilation Needed: (type, size, location) | bar: Wall 1 to Wall 2
Leaks/damage/rotting: | bar: Wall 1 to Wall 2
Notes:
Roof 3: (hip, gable; metal, asph. Shingle) | bar: Wall 1 to Wall 2
Existing Ventilation: (gable, ridge, soffit,etc) | bar: Wall 1 to Wall 2
Ventilation Needed: (type, size, location) | bar: Wall 1 to Wall 2
Leaks/damage/rotting: | bar: Wall 1 to Wall 2
Notes:
MANUFACTURED HOME
Roof
Roof Type: | Wall 1: Flat; Wall 3: Bow; Wall 5: Pitched; Wall 7: Other
Health & Safety Concerns: | bar: Wall 1 to Wall 2
Area: | Wall 1: Existing Insulation Type:; Wall 6: Inches Existing Insul:
Roof material: | Wall 5: Elastomeric coating Y/N?
Notes:
Belly
Belly Condition:
Repairs needed?
Health & Safety Concerns: | bar: Wall 1
Area of Center/Belly: | Wall 4: Area of Wings:
Depth of Center/Belly: | Wall 4: Depth of Wings:
Existing Insulation Center/Belly: | Wall 4: Exiting Insulation Wings:
Existing Insulation Belly inches: | Wall 4: Exiting Insulation Wings inches:
Add Insulation to Belly: cu.ft. | Wall 4: Add Insulation to Wings cu.ft.
Joist Direction: Lengthwise/Wth | Wall 4: Ductwork: below/between joist:
Condition of Skirting: | Wall 4: Add Skirting: sq.ft./pieces
Notes:
Wall Insulation - Manufactured Home
Orientation: | Wall 1 | Wall 2 | Wall 3 | Wall 4 | Wall 5 | Wall 6 | Wall 7 | Wall 8
Existing Type of Insul:
Cavity Space: inches
Area to Insulate:sq.ft
Repairs needed? Y/N
Wall Vented? Y/N
Siding Type:
Notes:
Window & Door - Manufactured Home
Orientation: | Wall 1 | Wall 2 | Wall 3 | Wall 4 | Wall 5 | Wall 6 | Wall 7 | Wall 8
Window Size:
Window Glazing:
Door Size:
Type of Door:
Storm door?
Repairs needed?
Replace?
Notes:
AIR SEALING
Attic
Top Plates | Wall 2: Can Lights; Wall 5: Whole House Fan
Wires | Wall 2: Attic Access; Wall 5: Other
Chase | Wall 2: Ductwork; Wall 5: Other
Chimney | Wall 2: Plumbing; Wall 5: Other
Electrical Fixtures | Wall 2: Flue Pipes; Wall 5: Other
Balloon Framing | Wall 2: Exhaust Fans; Wall 5: Other
Notes:
Crawl Space
Ductwork | Wall 2: Wires; Wall 5: Other
Plumbing | Wall 2: Balloon Framing; Wall 5: Other
Flue Pipe | Wall 2: Access/Floor; Wall 5: Other
Notes:
Interior
Ceiling/Wall | Wall 2: Light Fixtures; Wall 5: Windows
Wires | Wall 2: Ductwork; Wall 5: Doors/Threshold
Plumbing | Wall 2: Baseboard/Wall; Wall 5: Other
Dropped Ceiling | Wall 2: Window A.C.; Wall 5: Other
Notes:
Exterior
Windows | Wall 2: Window A.C.; Wall 5: Electrical Fixtures
Doors | Wall 2: Fireplace/Chimney; Wall 5: Dryer Exhaust
Fireplace/Chimney | Wall 2: Plumbing; Wall 5: Other
Siding | Wall 2: Service Entry; Wall 5: Other
Notes:
Combustion Appliance Zone/Garage
*Attached garage must be sealed off from livingspace
* CAZ must be sealed from livingspace/Combustion Air must come from outside
Notes:
Exhaust Ventilation
*Must perform ASHRAE 62.2 Calculations
Location: | Openable Window? | Existing Fan? | Does Unit Work? | Vented to Outside? | Termina-tion Location? | Install New Unit? | Tested Flow Rate Pre Post
Bathroom 1
Bathroom 2
Bathroom 3
Hallway
Kitchen
HVAC/Fresh Air Intake | Wall 1: N/A
Clothes Dryer | Wall 1: N/A; Wall 2: N/A; Wall 7: N/A; Wall 8: N/A
Other
Notes:
Heating/Ventilation/Air Conditioning
Primary Heating System
System Type: Forced Warm Air, Hydronic, Vented Space Heater, Air Source Heat Pump, Unvented Space Heater, Wood/Pellet Stove, Fireplace, Portable Electric Space Heaters, Electric Baseboard, Other | bar: Wall 1 to Wall 5
Fuel Source: Natural Gas, Liquid Propane Gas, Electric, Oil, Wood, Kerosene, Other | bar: Wall 1 to Wall 5
Location:
Make:
Model #:
Serial #:
BTU/HR Input:
BTU/HR Output:
Unit Operable:
System Red Tagged:
Combustion Safety Testing Perfomed: | bar: Wall 1 to Wall 2
* See Combustion Safety Test Sheet
Notes:
Secondary Heating System
System Type: Forced Warm Air, Hydronic, Vented Space Heater, Air Source Heat Pump, Unvented Space Heater, Wood/Pellet Stove, Fireplace, Portable Electric Space Heaters, Electric Baseboard, Other | bar: Wall 1 to Wall 5
Fuel Source: Natural Gas, Liquid Propane Gas, Electric, Oil, Wood, Kerosene, Other | bar: Wall 1 to Wall 5
Location:
Make:
Model #:
Serial #:
BTU/HR Input:
BTU/HR Output:
Unit Operable:
System Red Tagged:
Combustion Safety Testing Perfomed: | bar: Wall 1 to Wall 2
* See Combustion Safety Test Sheet
Notes:
Other Heating System
System Type: Forced Warm Air, Hydronic, Vented Space Heater, Air Source Heat Pump, Unvented Space Heater, Wood/Pellet Stove, Fireplace, Portable Electric Space Heaters, Electric Baseboard, Other | bar: Wall 1 to Wall 5
Fuel Source: Natural Gas, Liquid Propane Gas, Electric, Oil, Wood, Kerosene, Other | bar: Wall 1 to Wall 5
Location:
Make:
Model #:
Serial #:
BTU/HR Input:
BTU/HR Output:
Unit Operable:
System Red Tagged:
Combustion Safety Testing Perfomed: | bar: Wall 1 to Wall 2
* See Combustion Safety Test Sheet
Notes:
Primary Cooling System
Type: Central, Fixed Window, Portable Window | bar: Wall 1 to Wall 3
Location:
Make:
Model #:
Serial #:
Seasonal Energy Efficiency Ratio:
Energy Efficiency Ration:
Unit Operable:
System Red Tagged:
Notes:
Secondary Cooling System
Type: Central, Fixed Window, Portable Window | bar: Wall 1 to Wall 3
Location:
Make:
Model #:
Serial #:
Seasonal Energy Efficiency Ratio:
Energy Efficiency Ration:
Unit Operable:
System Red Tagged:
Notes:
Domestic Hot Water - Heating
Type: Tankless/On-demand, stand-alone tank, Hybrid Heat Pump | bar: Wall 1 to Wall 2
Fuel: Gas, Electric, Solar, Hybrid Heat Pump
Location:
Make:
Model #:
Serial #:
Tank Size:
Energy Factor:
Unit Operable:
System Red Tagged:
Temperature & Pressure Relief Valve present/functioning:
T&P Valve piped to drain or to outside?
Expansion Tank present?
Hot/Cold pipes insulated?
Plumbing leaks?
Add external Insulation?
* See Combustion Safety Test Sheet
Notes:
Refrigerator
Primary Refrigerator
Type: Top Fridge/Bottom Freezer, Side-by Side, Top Freezer/Bottom Fridge, | bar: Wall 1 to Wall 2
Location:
Make:
Model #:
Serial #:
Cubic Feet:
Area around fridge: (length, width, height)
Left/Right Hinge:
Energy Factor:
Unit Operable:
Refrigerator Metering: | Wall 1: Start Time:; Wall 3: Stop Time:; Wall 5: Time Metered:; Wall 7: Usage:
Notes:
Secondary Refrigerator
Type: Top Fridge/Bottom Freezer, Side-by Side, Top Freezer/Bottom Fridge, | bar: Wall 1 to Wall 2
Location:
Make:
Model #:
Serial #:
Cubic Feet:
Area around fridge: (length, width, height)
Left/Right Hinge:
Energy Factor:
Unit Operable:
Refrigerator Metering: | Wall 1: Start Time:; Wall 3: Stop Time:; Wall 5: Time Metered:; Wall 7: Usage:
Notes:
Lighting
Existing Bulbs (Replace with CFLs or LEDs)
Location | 25 Watt | 40 Watt | 60 Watt | 75 Watt | 100 Watt | 150 Watt | Candel-abra | 3-Way
Living Room
Family Room
Dining Room
Kitchen
Master Bedroom
Bedroom 1
Bedroom 2
Laundry Room
Master Bathroom
Bathroom 1
Bathroom 2
Basement/Crawl Spc
Garage
Attic
Other
Notes:
* Note: if dimmer is present, replacement CFLs or LEDs must be rated to work with dimmers
Water
Faucet/Shower
Location | Wall 1: Existing Standard Aerator; Wall 3: Existing Shower Head; Wall 5: New Unit; Wall 7: Notes
| Gallons per Minute |  | Gallons per Minute |  | Gallons per Minute |  | (Unit corroded, leaking, shut-off)
Master Bathroom
Bathroom 1
Bathroom 2
Laundry Room
Utility Room
Notes:
ADDITIONAL NOTES